## Slide 1: Ducts, Mufflers, and Silencers
Tyler Dare
Practical considerations

## Slide 2: Definitions of geometry and variables
l

## Slide 3: Parallel baffle silencers
The total IL of a parallel baffle silencer is the same as the insertion loss for a single passage if the geometry of all passages are the same and the flow rates of all passages are the same.

## Slide 4: Actual absorbers are more than just fiberglass
20 gauge perforated facing (>25% open area)
Spacers (wire, etc…)
Limp membrane: Plastic sheet, fiberglass cloth, metal mesh
Fibrous material
Hard wall

## Slide 5: Bends and elbows
Turns will reflect some of the energy back upstream
Most reflection occurs when duct width is comparable to a wavelength
More abrupt elbows reflect more energy
 | Square | Square with turning vanes | Round
< 0.15 | 0 | 0 | 0
0.15–0.3 | 1 | 1 | 1
0.3–0.6 | 5 | 4 | 2
0.6–1.1 | 8 | 6 | 3
1.1–2.2 | 4 | 4 | 3
> 2.2 | 3 | 4 | 3
 | Square | Square with turning vanes | Round
< 0.15 | 0 | 0 | 0
0.15–0.3 | 1 | 1 | 1
0.3–0.6 | 5 | 4 | 2
0.6–1.1 | 8 | 6 | 3
1.1–2.2 | 4 | 4 | 3
> 2.2 | 3 | 4 | 3
Insertion loss, dB

## Slide 6: Bends and elbows
With flow, turns can generate self noise.

## Slide 7: Combination mufflers
Predicting the performance of a muffler with absorbing material can be difficult by hand, but has been modeled.
Source: Panigrahi and Munjal, “Combination Mufflers – Theory and Parametric Study,” Noise Control Engineering Journal, 2005.

## Slide 8: Combination mufflers
Panigrahi and Munjal started with 2D analytical solution

## Slide 9: Combination mufflers

## Slide 10: Combination mufflers

## Slide 11: Combination mufflers
Panigrahi and Munjal took 2D solution and computed the 4-pole matrix

## Slide 12: Combination mufflers

## Slide 13: Combination mufflers

## Slide 14: Combination mufflers

## Slide 15: Herschel-Quincke tube
Causes destructive interference by allowing side branch to reconnect

## Slide 16: Herschel-Quincke tube

## Slide 17: Herschel-Quincke tube

## Slide 18: Active control in ducts
Use a source to cause destructive interference

## Slide 19: Active control in ducts

## Slide 20: Active control in ducts

## Slide 21: Active control in ducts

## Slide 22: Active control in ducts