## Slide 1: Ducts, Mufflers, and Silencers
Tyler Dare
Transfer matrix method

## Slide 2: Lumped element method
Break the system up into “elements”
Calculate a small set of variables for each element
Match up variables for adjacent elements
Solve for quantities of interest

## Slide 3: Transfer matrix for duct element

## Slide 5: Transfer matrix for duct element

## Slide 6: Transfer matrix for duct element

## Slide 7: Transfer matrix for duct element
or

## Slide 8: Connecting duct segments

## Slide 9: Connecting duct segments

## Slide 10: Connecting duct segments

## Slide 11: Connecting duct segments

## Slide 12: Four-pole matrices
Element | Transition matrix | Notes
Duct segment |  | 
Segment with flow from input to output |  | 
Element | Transition matrix | Notes
Duct segment |  | 
Segment with flow from input to output |  | 
Matrices numbered outlet to inlet

## Slide 13: How “good” is a noise treatment?
“Noise Reduction”: how much quieter is it on the receiver side compared to the source side?
“Insertion loss”: how much quieter did the receiver get when I added the treatment?
“Transmission loss”: how much power is transmitted compared to incident?

## Slide 14: How “good” is a noise treatment?
Noise Reduction:
Insertion loss:
Transmission loss:
Treatment

## Slide 15: Impedance formulation
How do we calculate performance metrics from the transfer matrix?

## Slide 16: Impedance formulation
How do we calculate performance metrics from the transfer matrix?
Define “acoustic impedance”

## Slide 17: End conditions
If the end is rigid, then
For open-ended pipe, at some point past the end of the pipe.

## Slide 18: End conditions
Flanged
Unflanged
Opening diameter = pipe diameter
Opening diameter < pipe diameter

## Slide 19: What if the orifice of the pipe/duct isn’t round?
Convert
Assume the ratio of orthogonal dimensions is not much different from 1
High aspect ratios
Reproduced from Bies, Hansen & Howard - Figure 8.5